TRANSMISSION CORPORATION OF TELANGANA LIMITED

# STANDARD SCHEDULE OF RATES

FOR LABOUR ITEMS OF 220 KV & 132 KV TRANSMISSION LINES AND SUBSTATIONS WORKS AND FOR O&M WORKS OF TRANSMISSION SYSTEM

FOR THE YEAR 2015-16

(With effect from the date of issue of T.O.O. Ms. No. 7,dated.04.03.2016.)

INDEX

| SI. No. | Description | Page No |
| --- | --- | --- |
| 1 | ### Preamble | 1 |
| 2 | ANNEXURE-I: 220kV & 132kV Transmission Lines | 8 |
| 3 | ANNEXURE-II 220kV & 132kV Substations | 12 |
| 4 | ANNEXURE-III: Handling charges of Equipments & Line Materials | 17 |
| 5 | ANNEXURE-IV: Transport of Protection and Control of Equipment and Line Materials. | 21 |
| 6 | ANNEXURE-V: Handling & Erection of Power Transformers | 22 |
| 7 | ANNEXURE- VI: O&M works of EHT Lines & Substations | 29 |
| 8 | ANNEXURE-VII: ERECTION OF TELECOM EQUIPMENT | 31 |
| 9 | ANNEXURE-VIII: Laying of EHT UG Cables | 35 |

1

PREAMBLE

1.	The Rates for the item of works (Line & Substations) involved under special conditions in the existing SSR 2015-16 are as follows:

- TRANSMISSION LINE WORKS:

| Sl. No. | Description of work | % Over the basic labour rates |
| --- | --- | --- |
| 1. | River Crossing with JC type towers | 100% extra |
| 2. | 2nd Circuit Stringing with 1st Circuit lives. | 75% extra |
| 3. | Works under shutdown: This is applicable under the following conditions only. i. Pre-programmed for interruption of line. ii.Pre-arranged replacement / rectification of line materials. | 50% extra |
| 4. | Dismantling works | 75% of Normal Rate. |
| 5. | Emergency Works such as break down works. This will not be applicable for pre-arranged shutdown works. | 100% extra |
| 6. | Stringing of railway crossings | 100% extra |
| 7. | National and State High way crossings | 25% extra |
| 8. | Tree cutting & Jungle Clearance in Tr. Line works as the works are in scattered areas. | 100% extra |
| 9. | DC Works under shutdown | 100% extra |

SUBSTATIONS AND OTHER WORKS:

| Sl. No. | Description of work | % Over the Basic labour rates |
| --- | --- | --- |
| 1. | Works under shutdown: This is applicable under the following conditions only. i. Pre-programmed for interruption of equipment. ii. Pre-Programmed replacement of bus in Substation. iii. Pre-arranged replacement / rectification of equipment. | 50% extra |

2

| Sl. No. | Description of work | % Over the Basic labour rates |
| --- | --- | --- |
| 2. | Dismantling works | 75% of Normal Rate. |
| 3. | Emergency Works such as break down works. This will not be applicable for pre-arranged shutdown works. | 100% extra |
| 4. | Idle trip (No load) rate of the low-bedded trailer for movement of Power Transformers. | 50% of basic labour rate of loaded trip. Shortest distance from / to the place of availability of low bedded trailer shall be considered. |

Note:- However if more than one special condition such as emergency, shutdown, 2nd circuit stringing with First circuit live and breakdown etc are applicable for a particular work item / situation, only one condition with maximum extra rate out of applicable special conditions  can be allowed.  Applying more than one special condition for any item is to be dispensed.

2	For  EHT Transmission line works, Keeping scattered in nature, some extra provisions are provide and are as follows

a.	5% extra provision on the basic rates of TSTRANSCO towards scattered area mobilization efforts in general  areas

Or

b.	10% extra provision on the basic rates of TSTRANSCO towards scattered area mobilization efforts in difficult areas. The concerned                          SE/ Construction(or)SE/OMC has to certify that entire line passes through difficult terrain / areas duly furnishing the justification.

Note:-  If 10% extra toward mobilization efforts in difficult areas is applicable for a work, then the 5% extra towards mobilization effort in general areas is not applicable.

c	Transmission line works, Uniform area allowance minimum of 25% on basic labour charges for the entire state as recommended by Board of Chief Engineers will be allowed against weighted average of area allowance mentioned in Schedule of rates except in Greater Municipal corporation limits. If the entire line is with in the Greater Municipal Corporation limits, area allowance shall be considered as mentioned in Common SSR.  This uniform area allowance is applicable only for the Transmission line erection works. However area allowance shall be considered as adopted from Common SSR, for the works other than transmission line works.

3

3(a)	10% extra to the rate of earth flat (material) is allowed towards wastage, cleats and overlap etc., while preparing the estimate as the billing for this item is on Running Meters basis and after laying of earth mat.

3(b)	For stringing of conductor for small modification works, if the length of the line is less than 0.5 KM, 0.5KM is considered and if the length of the line is greater than 0.5 KM and less than 1 KM, 1KM is considered, in the preparation of estimate.

3(c)	For survey of small length of lines, if the length of line is less than 1KM, then 1KM is considered for survey of small length of lines in the preparation of estimate.

3(d)	The rates for tree cutting and jungle clearance may be followed as per Common SSR of Govt of AndhraPradesh/Telangana.

4.	AREA ALLOWANCES:

A)	CORPORATIONS & MUNICIPALITIES:

a)         (i)	25% extra over the rates on labour component of works is allowed in all Municipal Corporation Limits of Telanagana except Greater Hyderabad, ( up to a belt of 12 Kms. from Municipal Corporation limits ) and other corporations as notified by the Government from time to time.

(ii)	40% extra over the rates on labour component of works for Greater Hyderabad, (up to a belt of 12 Kms. from Municipal Corporation limits).

b) 	Allow 20% extra over basic rates on labour component of works in all District Headquarters and the remaining Municipal limits (up to a belt of 12 Kms. from Municipal limits).

B) 	JAIL COMPOUNDS:

15% extra is allowed over basic labour rates for the work in the Jail compounds. Only equivalent number of Man Mazdoor shall be provided in the Jail premises and no women Mazdoor are allowed inside.

4

C)	INDUSTRIAL AREA:

20% over basic rates on labour component works allowed for works situated within 10 Kms belt of Industrial area of, Jeedimetla, Lingampally, Ibrahimpatnam,  Tandur in Ranga Reddy District, Kothur in Mahabubnagar District, Patancheru, Ramachandrapur in Medak District, Bibinagar in Nalgonda District, Ramagundam and Godavarikhani in Karimnagar District,  Manchiryal, Mandamarri, Bellampalli in Adilabad District, Sarpaka, Kothagudem, Paloncha, Manguguru, Singareni Collieries in Khammam District, Kamalapur, Bhoopalpally of Warangal District, Wadepally of Nalgonda District, Nagapally (Centenary Colony, Begumpet “X” roads),Takkelapally of Karimnagar District

D) 	AGENCY / TRIBAL AREAS:

a) 	25% extra is allowed for the works located with in the interior Agency / Tribal limits, i.e. for the works located with in & upto16 KMs from any all weather route inside Agency / Tribal.

b) 	40% extra is allowed for the works located with in the interior Agency / Tribal limits, i.e. for the works located beyond 16 KMs from any all weather routes inside Agency / Tribal. The extra percentage under Agency / Tribal areas allowance may be allowed on the labour component and on the labour charges in the rates for conveyance of materials.

E) 	GHAT ROADS:

For Ghat Roads steeper than 1 in 20, the length of the road may be taken as 1.5 times the existing length of the road for the purpose of leads only for conveyance of materials based on the certificate for the Ghat Road given by the Superintending Engineer concerned. Under compelling circumstances, the concerned Chief Engineer can adopt the equivalent length of road as 2 ½ times of actual length.

Note:  If more than one area allowance ( such as those ) for (1) Municipalities (2) Agency / Tribal areas (3) Industrial areas are applicable for a particular situation, only the maximum out of the allowable percentages is to be allowed.

5.	13.615% on basic labour rates towards for contractor’s overheads and profit including labour importation is applicable only for Turnkey projects (New substations, Lines, 33kV features & Bay extension works) of more than 1 Crore and not applicable to O&M works and other than turnkey works.

Contractor’s over heads and profit including Labour importation 13.615% is allowed on basic labour rates.

5

The overhead charges include the following:

- Site accommodation, setting up plant, access road, water supply,                       electricity and general site arrangements.

- Office furniture, equipment and communications.

- Expenditure on:

- Corporate office of contractor.

- Site si9upervision.

- Documentation and “as built’ drawings.

- Mobilization / de-mobilization of resources.

- Labour camps with minimum amenities and transportation to work sites.

- Light vehicles for site supervision including administrative and managerial requirements.

- Laboratory equipment and quality control including field and laboratory testing.

- Minor T&P and survey instruments and setting outworks, including verification of line, dimensions, trial pits and bore holes, where require.

- Watch and ward.

- Traffic management during construction

- Expenditure on safe guarding environment.

- Sundries

- Financing Expenditure.

- Sales / Turn over tax.

- Work Insurance / compensation.

  - AutoCAD Tower /Structure drawings of required sets.

  - AutoCAD shop drawings of Towers /Structures of required sets.

  - AutoCAD Substation layout.

  - Testing and commissioning of the equipment.

6.	(i) The area allowances, COP’s and Mobilization charges are not applicable on Fabrication charges and Galvanization Charges.

(ii) The area allowance shall be applicable for O&M and RMI works also on par with construction works.

(iii) The mobilization charges shall be applicable for O&M & RMI works of lines also on par with construction works.

The area allowances are applicable for electrical works (labour), where the value of work is more than Rs.20.00 lakhs (electrical & civil). But this (TSTRANSCO SSR) is not applicable for only civil works.

6

7. (a)	TREE CUTTING AND CLEARING OF JUNGLE

Please refer prevailing Common SSR of Board of Chief Engineers.

7 (b)	THE (LEAD) CONVEYANCE CHARGES FOR TRANSPORTATION OF EQUIPMENT / MATERIALS.

Please refer prevailing Common SSR of Board of Chief Engineers.

8. PRICES FOR ERECTION AND OIL FILTERATION WORKS OF 220KV AND 132KV POWER TRANSFORMERS ON RATE CONTRACT BASIS.

The rates communicated by Chief Engineer/Transmission vide letter No. Lr.No.CE(Tr.)/ SE(Tr.)/DE-SS/ADE-2/F. Erection RC/D.No.202/15,dt.23-05-2015 on rate contract basis for erection, dismantling, transportation &  oil filteration of Power Transformers through private agency are valid upto 31.03.2017.

The following taxes and duties are applicable, which shall be payable extra.

Taxes & Duties:

- VAT: VAT/CST is extra as applicable on the date of placing of Letter of Intent on material portion i.e., all items under B & C of ANNEXURE. (labour in C is treated as minor portion).  Present rate of VAT is 5% & CST is 2%.

- Service Tax: Service Tax is extra as applicable on date of placing of Letter of Intent on labour portion i.e., all items under A & D of ANNEXURE.  Present rate of Service Tax is 14% & Swatch Bharat Cess is 0.5%.

- TDS: TDS applicable @ 3.5% on total amount of bill (Material & labour portion).

- The rate contract prices will be valid upto 31-03-2017.

- Item No.1 (i.e. mobilization of men & T&P) will be applicable for one time when dismantling, loading/unloading and erection work of PTR is taken up or dismantling, loading/ unloading work of PTR is exclusively taken up (erection works of PTR not involved).  Only 1 No. mobilization to be allowed for each work.  2nd mobilization is applicable only where plinth modification works are involved as per

7

field condition and mobilization done for the 2nd time.  The concerned Superintending Engineer/OMC or O&M shall issue necessary certification for the same.  The mobilization of men & T&P is not applicable when oil filtration works/O&M works only awarded.

- For Items Nos. 27 (a), (b) & (c), the concerned Superintending Engineer/OMC/O&M shall certify the capacity of crane utilized and No. of working hours of crane utilization.

- Area Allowances, Special provisions and any other allowances are not applicable on rate contract.

9.	    Civil Engineering Works in Transmission lines & Substations:

For Civil items works of Transmission Lines and Substations the prevailing common SSR for engineering departments shall be followed in Toto. Some provisions made in T.O.O.CE (CE-Project-I) Ms No.164, dated.31.08.2015 are also applicable for civil works.  But the TSTRANSCO SSR 2015-16 is not applicable for Civil Works.

10.	In respect of Cement and Steel rods the procedure indicated in Common SSR for all Engineering Departments shall be adopted for updating of estimates at the time of finalization of tenders.

11.	All statutory levies such as VAT (Works Contract Tax), Service Tax., Swachh Bharat Cess for labour welfare if any, are based on the prevailing notified rate, shall have to be added in the estimate

12.	The S.S.R will come into force with immediate effect until further orders.

Sd/-

( D.PRABHAKAR RAO)

CHAIRMAN & MANAGING DIRECTOR

| // FORWARD BY ORDER // |  |
| --- | --- |
| DIVISIONAL ENGINEER-1 |  |
| O/o Chief Engineer (Transmission) |  |
| TSTRANSCO |  |
| Vidyut Soudha, Hyderabad |  |