**TENDERS SPECIFICATION No: MWT -14/2025-26**

SUPERINTENDING ENGINEER/OMC CIRCLE,

TGTRANSCO, MAHABUBNAGAR.

Name of the Work :- Providing Bore Well, Submersible motor and pipe line at 220/132 KV SS

Mahabubnagar (Bhoothpur) in Mahabubnagar Circle

Tenderer’s Name & Address:

M/s\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

TRANSMISSION CORPORATION OF TELANGANA LIMITED

SUMMARY SHEET

TENDER SPECIFICATION No. MWT -14/2025-26 of Superintending Engineer/OMC/MBNR.

1. Name of the work : Providing Bore Well, Submersible motor and pipe line

at 220/132 KV SS Mahabubnagar (Bhoothpur) in

Mahabubnagar Circle.

2. Officer to whom Tenders :Superintending Engineer/OMC/Circle

shall be submitted Mahabubnagar.

|  |  |  |  |
| --- | --- | --- | --- |
|  | 3. Superscription on the sealed cover | : | 1)Name of the work:  2)Registration No. of the Vendor, if any.  3)Tender against specification No  4)Payment of E.M.D. and Tender  Specification cost: Details of D.D. i.e.,  D.D.No., Date & Amount etc., or details of  online payment.  5)Whether 90 days validity offered  Yes/No  6)Whether TGTRANSCO Payment Terms  Accepted Yes/No  (Tenders without above superscription or in  other form are liable to be rejected) |

1. Schedule Sale Opening Date : 10.07.2025 at 13.00 Hrs.
2. Last Date & Time of receipt of Tender. : 08.08.2025 at 15:00 Hrs.
3. Date and Time of opening of Tender. : 08.08.2025 at 16:00 Hrs.
4. Place of opening : O/o Superintending Engineer, OMC

Circle, Mahabubnagar – 509001.

1. Approx. Face Value of the work : Rs.4,85,371/- (Inclusive of Taxes).

9 Bid Security to be paid : 2.5 % of the value of the work of Rs.12,134/-

in the form of Demand Draft in favour of

Superintending Engineer/OMC Circle,

Mahabubnagar payable at Mahabubnagar. **or** online

payment Account details mentioned in TERMS

AND CONDITIONS –Clause No.6.

1. Performance Security : 5% of the Contract value.

Sd/-

Superintending Engineer,

OMC Circle, Mahabubnagar.

**TERMS AND CONDITIONS**

A –GENERAL

**NAME OF THE WORK:-** Providing Bore Well, Submersible motor and Pipe line at 220/132 KV SS

Mahabubnagar (Bhoothpur) in Mahabubnagar Circle.

1. The bidder has to quote the rate for the complete work in terms of figure in Percentage (%) in Sl.No.2 against the value of the work (inclusive of all Taxes) mentioned in Sl. No.1 and corresponding both in figures & words after loading Percentage (%) shall be indicated in Sl. No.3 in Schedule B. Partial filling of Schedule and incomplete Schedules or unsigned Schedules will be rejected. The sealed Tender cover should be addressed to Superintending Engineer/OMC Circle TGTRANSCO/Mettugadda/Mahabubnagar - 509001.
2. The envelope containing sealed Tender must be with the superscription indicating.

1)Name of the work:

2)Registration No. of the Vendor, if any.

3)Tender against specification No

4)Payment of E.M.D. and Tender Specification cost: Details of D.D. i.e., D.D.No., Date & Amount etc.,

or details of online payment/ EMD exemption particulars.

5)Whether 90 days validity offered : Yes/No

6)Whether TGTRANSCO Payment Terms Accepted : Yes/No(Tenders without above superscription or

in other form are liable to be rejected)

3. **Eligibility Criteria:**

a) The Bidder should be a reputed Agency in the business for the past 2 years at least

and should have executed similar works in TGTRANSCO /TSGENCO/DISCOMS or any

other Government Departments. (Optional).

b) Should be a registered Contractor with TGTRANSCO / TSGENCO/DISCOMS or any

other Government Department.

c) The Bidder should have a valid “A” Grade License.

d) The bidder in his name should not have more than two similar works on hand in the Zone and also should enclose the copy of latest satisfactory certificate of last work done issued by order placing authority of state power utility/Government Organizations/PSU Only.

4. **RATES: -**

The rate should be firm in Rupees and offered rate should be quoted in Schedule B for the work specified including material and labor and also against ‘Total’. The rate quoted shall be inclusive of all Taxes and Seignorage charges & GST on Seignorage Charges is extra. Every Contractor is expressed, before quoting his rates to inspect the site of the proposed work. The Transmission Corporation of Telangana Ltd., will not however pay any extra charges for any other reasons, in case the Contractor is found later on to have misjudged the Work/Materials to execute the work. The rate quoted by the Contractor shall be firm for complete period of work.Tenders without signature of the Contractor in the space provided will be rejected.

1. **PERIOD OF CONTRACT: -**

The period of Contract is 3 (Three) Months from the date of handing over of site. The TGTRANSCO has right to terminate the Contract without assigning any reasons and no compensation will be paid for the balance period of Contract.

6. **BID SECURITY: -**

Bid Security for an amount of Rs.12,134/- equivalent to 2.5% of estimated value of work by way of Demand Draft drawn in favor “Superintending Engineer /OMC Circle/Mahabubnagar”, Payable at Mahabubnagar should be enclosed to the tender. Tenders not accompanied by such D.D’s towards Bid Security is liable to be rejected or make online payment as details mentioned here under.

The Bid Security will be refunded in the case of unsuccessful bidder only after finalization of Tenders. The Bid Security will be adjusted towards Performance Security in case of successful bidder.

No interest will be paid on Bid Security. Bid Security is exempted for Contractors Belonging to SC/ST categories. They must enclose the attested copies of certificate of exemption by TGTRANSCO/MSE and Caste certificate issued by Mandal Revenue Officer with the specification without which the Tender will be rejected.

**Online Payment Account Details: -**

Account No. : 62154919867

Account Name : SE OMC Mahabubnagar

Bank Name : State Bank of India

Branch : Padmavathi Nagar Colony

IFSC Code : SBIN0020856

MICR Code : 509002013

CIF No. : 72068388409

**7**.**PERFORMANCE SECURITY: -**

**7.1** The successful bidder shall furnish performance security equal to Five percent (5%) of the Contract Value

for the proper fulfillment of contract to cover the 12 months guarantee period, and if he fails to do so, the Bid Security will be forfeited and the contract awarded will be cancelled without assigning any reasons there for The bid security paid will be adjusted for part of performance security. The Performance Security will be released after 12 months after satisfactory completion of work entrusted which will not carry any interest. The Performance Security shall be forfeited, if the contractors do not fulfill the terms and conditions of works contract. The Performance Security shall be furnished by way of DD/Online payment.

**7.2 PERFORMANCE GUARANTEE:-**

The works executed should be guaranteed for satisfactory performance for period of 12 months from date of completion of work. If any defects are noticed during this period, it is responsibility of contractor to rectify/repair the work free of cost to TGTRANSCO within reasonable time as directed by Engineer in charge.

**8. DECLARATION OF RELATIONSHIP: -**

The Contractor shall declare their relationship, if any with the Officer/Directors of TGTRANSCO/TSGENCO/DISCOMS along with the Bids/Tenders. The bids not accompanying the above certificate will be rejected. The declaration must be furnished in the format given in Annexure-II. Any false information furnished in the declaration/disclosure, if found later the Contract is liable for termination as well as recovery of damages. The list of relatives is mentioned in Annexure-III.

**9**. **VALIDIY: -**

The quotation shall be valid for 90 days. The TGTRANSCO reserves the right to extend the validity of the Tender.

**10**. **AGREEMENT: -**

The successful Contractor should enter into an Agreement with TGTRANSCO on Non-Judicial stamped paper for the value specified by the TGTRANSCO within one month from the date of Letter of Intent issued.

**11**. **ACCEPTANCE OF BID:-**

The TGTRANSCO reserves the right to accept or reject any bid without assigning any reasons what so ever and no correspondence will be made in this matter i.e., the decision of the Superintending Engineer/OMC Circle, Mahabubnagar will be final in evaluation of bids and awarding of work.

**12**.**PAYMENT: -**

1. 90% payment of the work done will be made at reasonable intervals for the work executed. No claims are entertained for any delay in payments due to unforeseen circumstances. Payments will be subjected to deductions towards Income Tax as per the Income Tax Department rules in vogue. Out of balance 10% amount, the first 5% payment will be released after completion of all the works, provided the material account is settled. The final 5% payment will be released after completion of the Guarantee period subject to settlement of material account. The Paying Officer is Superintending Engineer/OMC/Circle/ Mahabubnagar.
2. The Contractor should prepare his own bills in triplicate (in standard TGTRANSCO Forms) accompanied by copies of ‘T’ Notes if any, duly acknowledged by the officer in charge and send the same to the Assistant Engineer and Assistant Divisional Engineer concerned for check and thus for payment to the paying authority. Rates quoted shall be inclusive of all taxes. The Income tax and Sales Tax will be deducted at source from the bills submitted for payment as per the relevant Acts, Rules and Regulations there under at the rates prevailing at that time.
3. All statutory deduction towards Income Tax, Telangana Contracts Tax etc., will be deducted in the bills. The Transmission Corporation of Telangana Ltd. will not however pay any extra charges for any other reasons, in case the Contractor is found later on to have misjudged the Work/Material to execute the work.
4. Whenever it is found that the Contractor has received any excess payment by mistake or if any amounts are due to Contractor due to any reasons, and when it is not possible to recovery such amounts, TGTRANSCO reserves the right to collect the same from any other amounts and Bank Guarantee/Bid Security/Performance Security given by the Contractor due to or with the TGTRANSCO.

**13. PENALTY: -**

The completion period committed shall be deemed to be the essence of the Contract. In case of delay in completion of work whatever be the reasons, the TGTRANSCO may at its option demand and recover from the Contractor an amount equivalent to 0.5% of the value of the works not completed within the prescribed time limit for every week of delay or part thereof., subject to a maximum of 5% of the total value of the Contract. This right of TGTRANSCO shall be without prejudice to the rights under the law, including the right to cancel the Contract forfeit the deposit and recover damages for breach of Contract.

**14. STATUTORY RULES, ACT & REGULATIONS: -**

The Contractor shall indemnify TGTRANSCO Ltd., against all claims which may be made under the Workmen’s Compensation Act or any statutory modification thereof or rules there under or otherwise for in respect of any damage or compensation payable in consequence of any accident or industry sustained by any workmen engaged in the performance of the business relating to this Work Contract. In all cases of personal injury to workmen employed by a Contractor on the work for which the Contractor is liable to pay compensation medical fee to Medical Officer for issue of ‘c’ – ‘d’ Forms as prescribed.

a) The Contractor shall indemnify TGTRANSCO against all claims which may be made under the Minimum Wages Act and Child Labour Act or any statutory modification thereof on rules there under or otherwise for in respect of any damage or compensation arising in consequence of any dispute under these Acts.

b) The Contactor shall indemnify the TGTRANSCO against all claims which may be made in respect of any person employed by the Contractor on these works towards Insurance charges or claims what so ever.

c) The form of Contract will be lump sum.

1. The rates and prices quoted by the Contractor while submitting the Tender shall be firm till the work is completed. The quoted rates shall be binding on the Contractor even for the award of part work.

**15. The Contractor has to enclose the following documents in support to the Tender: -**

1. Attested copy of valid Solvency Certificate issued by Bank/Revenue authority of Sales Tax Clearance Certificate.(Optional).
2. If the Contractor is a partnership concern, an attested copy of partnership deed and Form “C” Certificate or certified copy of Form “A” showing all the names of partners obtained from the Registrar of Firms.
3. Attested copies of Credentials of similar nature of work undertaken previously in TGTRANSCO/TSGENCO/DISCOMS or any other Departments like PGCIL or SEB’s etc.
4. Details of similar nature of work undertaken previously in TGTRANSCO/TSGENCO/DISCOMS or any other Departments like PGCIL Or SEBs etc.,
5. Latest Postal Addresses and Telephone numbers. The Name/Postal address shall be furnished.
6. EMD Amount & Cost of the Specification.
7. Valid Vender Registration with TGTRANSCO/ TSGENCO/DISCOMS or any other Government Department.
8. Valid ‘A’ Grade License issued by Electrical Licensing Board.

ix)Copy of G.S.T. If Registered Vendor or unregistered vendor on letter firm Letter Head

x) Copy of AADHAR & PAN.

**16**. The Contractor is responsible for any accidents caused to the Personnel/Labour deployed by him for carrying out the Contractor work and damage to the TGTRANSCO property during the period of Contract. The Contractor is responsible for the loss sustained by TGTRANSCO due to damage to the Equipment or Personnel or any other agency in TGTRANSCO premises arising out of carelessness/negligence on part of Contractor or his representative.

**17**. The Contractor should follow all Statutory Rules, Act and Regulations that are relevant and necessary for carrying out the work.

**18**. The Contract will be liable for termination if the work is not being carried satisfactory in accordance with the specified work or if the Terms and Conditions of the Agreement are breached.

**19**. No child labour should be employed.

**20**. The Contractor may engage persons, who are skilled and capable as required by him for the said work.

**21**. TGTRANSCO has got full powers to decide the Tenders and is not bound to accept the lowest Tender.

**22**. TGTRANSCO also reserves the right to cancel or reject all or any Tender (s) without assigning any reason and without being liable to refund the cost of Tender document there upon.

**23**. Any other Terms and Conditions as per TGTRANSCO Rules and Regulations, not covered herein will be binding on the Contractor.

**24**. The Tender must enclose the certificate duly signed by him accepting the Terms and Conditions of this specification as per the Annexure.

**25**. All disputes arising out of this Contract should be decided in the Courts situated in Mahabubnagar District Jurisdiction only.

**26.** The Tenderer shall note that in case of carrying out the work in the vicinity if equipments/live parts in service, care must be taken to avoid any accidents. If any work is to be done on any of the equipment/Line/Tower, the Tenderer his representative shall ensure that such works will be carried out only after obtaining proper line clear. It may clearly be noted that in no case the TGTRANSCO Ltd., will be responsible for any accidents that may occur and for any compensation to be paid arising out of the accidents.

Sd/-

Superintending Engineer

OMC Circle, Mahabubnagar.

**B -Technical Terms & conditions (Electrical & Civil)**

* + - 1. **COMPLIANCE WITH REGULATIONS:**

**WORKMANSHIP:**

The workmanship shall be of the highest grade and the entire work in accordance with the best modern practice and in conformity with this specification.

**ELECTRICITY RULES:**

All works shall be carried out in accordance with the relevant clauses of the Indian Electricity Act and Rules unless modified by this specification. In case of variation between the two, the latter shall be binding on the contractor.

**c)** Unless otherwise specified, works shall be carried out in accordance with the Indian Electricity Act, 1910, Indian Electricity Rules, 1955 or any revisions thereof, which may be issued during the currency of the contract and the requirements of any other Regulations and Acts in India to which the TGTRANSCO may be subjected to. All railway track, communication line or other important track crossings and routing of the line through air field region shall conform to the relevant rules and procedure as may be laid down by Railway, Communications, Aviation or other concerned Authorities from time to time.

Aviation signals will have to be provided at the top of the towers in the vicinity of Civil and Military aerodromes or airfield regions, if any. Similar provisions will have to be made on the special river crossing towers. The rates for tower erection shall include such works also.

**2 TECHNICAL SPECIFICATION:**

**2.0 STANDARD SPECIFICATIONS:**

Unless otherwise specified, works shall be carried out in accordance with relevant Indian standards and T.S.D.S.S. or any revision thereof which may be issued during the currency of the contract, and all the clauses relating to materials and workmanship, responsibilities, liabilities, commencement of works, completion delays and extensions, suspension works, and forfeitures etc., as provided in the T.S.D.S.S. shall be binding.

**2.1 CODES AND STANDARDS**

All equipment materials fabrication galvanizing and tests shall conform to the latest applicable standards, codes etc. mentioned here in or to equivalent applicable international standards approved by the engineer

------------------------------------------------------------------------------------------------------------------------------------------

**Sl. STANDARD TITLE**

**No.**

-----------------------------------------------------------------------------------------------------------------------------------------

1. IS 8112/1989 43 grade ordinary Portland cement

2. IS 1786/1985 High strength deformed steel bars and wires for concrete reinforcement

3. IS 456/1978 Code of practice for plain and reinforced

Concrete

4. IS 383/1970 Course and fine aggregates from natural

sources for concrete

5. IS 2062/1992 Steel for general structural purposes

6. IS 432(Part-1& / Mild steel and medium tensile steel bars and

Part-2)/1982 hard drawn steel wire for concrete

reinforcement.

7. IS 12427/1988 Transmission Tower Bolts

8. IS 1367 (part II) Technical supply conditions for threaded

steel fasteners - Product grade and

tolerances

9. IS 1363 (part III) Hexagon Nuts(size range M5 to M64)

10. IS3063/1994 Fastners - single coil rectangular section

spring washers

11. IS2629/1985 Recommended practice for Hot dip galvanizing

on Iron & Steel

12. IS4759/1984 Hot dip Zinc coatings on structural steel and

allied products.

13. IS7181/1986 Horizontally C.I double flanged pipes for

water, gas and sewage valve fittings for

compressed gas

14. IS3224/1979 Cylinders excluding liquified petroleum gas

cylinders

15. IS5039/1983 Distribution pillars for voltages not

exceeding 1000 volts

16. IS4072/1975 Steel for spring washers

17. IS1573/1986 Electroplated Coatings of Zinc on Iron &

Steel

18. IS513/1994 Cold rolled low carbon steel sheets and strips

19. IS617/1975 Alluminium and alluminium alloy ingots

and castings for general engineering

purposes

20. IS5561/1970 Electric power connectors

21. IS486(Part-I)/ Metal fittings of Insulators for overhead

1993 power lines with normal voltage greater than

1000V - General requirements & Tests

22. IS2486(Part-2)/ Insulator fittings for overhead power lines 1989 with a nominal voltage greater than 1000V -

Dimensional requirements

23. IS2108/1977 Blackheart malleable iron castings.

24. IS2486/ Hardware fittings, clamps and connectors

25. IS4984 P.V.C. Pipes

26. TSTS Telangana Standard Specification.

**3 SAFETY PLANS:** The following safety plan shall be observed and followed by the contractor for execution of the work safely.

# **3.0** **GENERAL SAFETY RULES FOR FOUNDATIONS, TOWER ERECTION & STRINGING:**

1. Steel/ Aluminums /Wooden ladders of 3.5 length shall be used for movement of labour in excavation, stub setting and concreting works. Keep cement out of the eyes.
2. All polypropylene ropes and slings, shackles proposed to be used shall be tested and inspected thoroughly before use.
3. Walkie-talkie sets shall be used for effective communication.
4. Binoculars shall be used for closer view
5. Red and Green flags shall be used for illiterate communication.
6. Pilot wires and joints shall be tested and thoroughly inspected before use
7. Ropes and guy wires shall be tested and thoroughly inspected before use
8. Ensure travelers in frictionless and good condition.
9. Load rating of stringing, pulling lines, conductor grips, load bearing hardware and accessories, rigging and hoists shall not be exceeded.
10. Traveler grounds should be installed at the first and last tower between tensioner and puller, when stringing in proximity to energized lines. Traveller ground at a maximum distance not exceeding 3 KM. Personnel shall never be in series with a ground lead.

Traveler grounds shall have a suitable grounding stub located in an accessible position to enable placing and removing the ground clamps with hot sticks when necessary.

11. The conductor reel stands shall have breaking device to prevent over running and backlash as the conductor is pulled out.

12. The location of the puller, tensioner and intermediate anchor sites shall be selected such that the structures are not over loaded.

13. Slack shall be removed from all anchor lines prior to loading to minimize the possibility of equipment movement or impact loads to the anchors.

14. All equipment, conductors, anchors and structures within the work area shall be bonded together and connected to the ground source.

15. A running ground shall be installed between the reel stand and tensioner for conductor, or puller for pulling line, and the first tower.

16. When clipping is being done, care must be exercised to ascertain that the conductors are grounded prior to clipping, placing a local ground upon the conductor at the location of work.

17. Care must be exercised to ensure that concentrated load of the men, car and equipment does not increase the sag appreciably to cause a hazard from obstructions over which the car will pass while installing spacers in bundle conductors.

18. If two conductors are to be spliced, the conductors shall be bonded and grounded before being spliced.

19. To cross over of energized lines, the line clear permit system shall be followed without any ambiguity to de-energize the lines. The de-energized lines shall be earthed effectively. Men and material clearance on line shall be ensured before returning permit.

Sd/-

Superintending Engineer

OMC Circle, Mahabubnagar

ANNEXURE – I

TENDER SPECIFICATION No. MWT – 14/2025-26 of SE/OMC/MAHABUBNAGAR.

**CERTIFICATE**

I/We have gone through all the Terms and Conditions of the Specification mentioned above and submit our tender herewith duly accepting all the Terms and Conditions laid down therein.

SIGNATURE OF THE CONTRACTOR

NAME:

(IN BLOCK LETTERS)

SEAL: DATE:

ENCLOSURES TO THE SCHEDULE:

1. Terms & Conditions (General & Technical) duly signed by : YES / NO

the Contractor.

1. Whether solvency certificate issued by Bank / Revenue : YES / NO

Authority or Sales Tax Clearance Certificate is enclosed.

1. In case of partnership firm, whether attested copy of : YES / NO

Partnership deed and Form “C” showing all the names of

Partners obtained from the Registrar of firm is enclosed.

1. Whether credentials of similar nature of works : YES / NO

with period contract undertaken previously are enclosed.

1. Whether latest postal address and telephone Nos. : YES / NO

furnished.

1. Details of Bid Security remitted

(PEMD Holder should enclose attested copy

of TGTRANSCO Proceedings). : YES / NO

VII) Whether the Valid “A” grade license enclosed : YES / NO

VIII ) Copy of G.S.T. If Registered Vendor or unregistered vendor

on letter firm Letter Head.

1. Copy of AADHAR & PAN. : YES / NO

1. Valid Vender Registration with TGTRANSCO/ : YES / NO

TSGENCO/DISCOMS or any other Government Department.

SIGNATURE OF THE CONTRACTOR

NAME:

(IN BLOCK LETTERS)

SEAL: DATE:

ANNEXURE – II

Undertaking to be given by the Company / Partnership Firm / Contractor along with the Tender:

I,\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_representing of the Company/Partnership Firm/Contractor responding to the bid invitation by the TGTRANSCO/TSGENCO/DISCOMS wide Specification No.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ hereby sincerely solemnly and state as follows:

**(Strike out which is not applicable)**

1. That myself or any of the representative of my Company / Firm do not have any relatives as defined in appended Annexure – III in the TGTRANSCO /TSGENCO/ DISCOMS.

(Or)

1. That the following officers/employees of the TGTRANSCO / DISCOM are related to me or to representatives of my Company / Firm and their status in the TGTRANSCO/TSGENCO/DISCOMS is as under:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl. No. | Name of the Officer / employee | Designation and Place of working | TGTRANSCO /TSGENCO DISCOMS | Relationship. |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |

It is certified that the information furnished above is true to the best of my knowledge and belief. It is hereby undertaken that in the event of any of the above information found be false or incorrect at a later date, the TGTRANSCO /TSGENCO/DISCOMS is entitled to terminate the Contract / Agreement entered in to besides recovering damages as may be found necessary, with due notice.

Signature of the authorized Representative / Contractor.

NAME:

(IN BLOCK LETTERS)

SEAL:

DATE:

ANNEXURE – III

LIST OF RELATIVES:

1. Father 14. Daughter’s Husband
2. Mother (including Step mother 15. Daughter’s Son
3. Son (including Step Son) 16. Daughter’s Son’s Wife
4. Son’s Wife 17. Daughter’s Daughter
5. Daughter (including Step Daughter) 18. Daughter’s Daughter’s Husband
6. Father’s Father 19. Brother (including Step Brother)
7. Father’s Mother 20. Brother’s Wife
8. Mother’s Mother 21. Sister (including Step Sister)
9. Mother’s Father 22. Sister’s Husband
10. Son’s Son 23. Son’s Wife’s Father } (and their

}siblings).

1. Son’s Son’s Wife 24. Son’s Wife’s Mother }
2. Son’s Daughter 25. Daughter’s Husband’s }

Father } (and their

1. Son’s Daughter’s Husband 26. Daughter’s Husband’s } siblings). Mother.

TRANSMISSION CORPORATION OF TELANGANA LIMITED

**SCHEDULE – III - B**

SUMMARY OF PRICES

SPECIFICATION NO.: MWT 14/2025-26.

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of the Work : Providing Bore Well, Submersible motor and pipe line at 220/132 KV SS  Mahabubnagar (Bhoothpur) in Mahabubnagar Circle.   |  |  |  | | --- | --- | --- | | Sl. No. | Item | Total Price | | 1 | Total value of schedule items (Quantities and Prices are as per the Schedule – A appended to the Specification). | **Rs.4,85,371**  (Inclusive of all Taxes). | | 2 | Percentage Rate Quoted below / at par/ Above the total value vide item 1. Above | | |  | 1. In figures | % | |  | 1. In words |  | | 3 | Total value of schedule after loading the percentage rate quoted against S.No.2 above | | |  | 1. In figures | Rs. | |  | 1. In words | (Rupees  ) | |
|  |

NOTE: 1. Percentage is to be rounded off upto two decimals.

2. Amounts are to be rounded off to nearest rupee.

Sd/-

Superintending Engineer, SIGNATURE OF THE BIDDER

OMC Circle, Mahabubnagar. WITH DATE AND SEAL