TRANSMISSION CORPORATION OF ANDHRA PRADESH LIMITED

Augmentation of PTR capacity from 1x31.5+1x10/16 MVA to 1x31.5+2x10/16 MVA at 132 KV SS Bapatla in Vijayawada circle – Revised  administrative approval – Accorded.

T.O.O (CE/Transmission) M.S.No. 20       		      		Dated: 26-11-2013

(Revision No. (1)  to  T.O.O Ms.No.121, Dt.21-06-11)

PROCEEDINGS:

1)	Administrative approval was accorded vide T.O.O (CE-Transmission) Ms.No.121,             Dt.21-06-11 for an amount of Rs.385.00 lakhs, including the work of  augmentation of PTR capacy from 1x31.5+1x10/16 MVA to 2x31.5 MVA at 132 KV SS Bapatla in Vijayawada circle for an amount of Rs.52.00 lakhs duly considering allotment of released 31.5 MVA PTR in place of 10/16 MVA.

2)	The Chief Engineer /Vijayawada Zone/Vijayawada has furnished revised proposal for augmentation of PTR capacity from 1x31.5+1x10/16 MVA to 1x31.5+2x10/16 MVA at 132 KV SS Bapatla, based on remarks of Quality Assurance Wing.

3)	Hence, APTRANSCO accords approval for revision of the administrative approval for augmentation of PTR capacity from 1x31.5+1x10/16 MVA to 1x31.5+2x10/16 MVA at an estimated cost of Rs.62.00 lakhs instead of 1x31.5+1x10/16 MVA to 2x31.5 MVA at an estimated cost of Rs.52.00 lakhs at 132 KV SS Bapatla.

4)	In view of the above T.O.O Ms. No.121, Dt.21-06-11 is revised as follows:

| Sl. No | Name of the substation | Existing PTRs Capacity (in MVA) | Proposed Enhancement of PTRs capacity (in MVA) | Estimated cost in Lakhs (Rs.) |
| --- | --- | --- | --- | --- |
| 1 | 132 KV SS Brahmadevam | 1x31.5+1x10/16 | 2x31.5 | 54 |
| 2 | 132 KV SS Nallapadu | 1x31.5+1x10/16 | 2x31.5 | 52 |
| 3 | 132 KV SS Bapatla | 1x31.5+1x10/16 | 1x31.5+2x10/16 | 62 |
| 4 | 132 KV SS Chilakaluripeta | 1x31.5+1x50 | 2x50 | 227 |
|  | Total: |  |  | 395.00 |

P.T.O

-2-

5)      The scheme cost of T.O.O (CE/Transmission) Ms.No.121, Dt.21-06-11 is hereby revised from Rs.385.00 lakhs to Rs.395.00 lakhs.

6)       The Chief Engineer/Construction - II / APTRANSCO / Vidyut Soudha, Hyderabad is

hereby authorized to take up the execution of the above scheme.

7)	This is in continuation to earlier T.O.O (CE-Transmission) Ms.No.121, Dt.21-06-11.

8)	This order is issued with the concurrence of Director (Grid,Transmission & Management ) vide  Regd No.3654, Dt.14-11-13 and Director (Finance & Revenue) vide Regd No.4364, Dt.14-11-13.

(BY ORDER AND IN THE NAME OF TRANSMISSION CORPORATION OF ANDHRA PRADESH LIMITED)

Sd/-

DIRECTOR,

GRID TRANSMISSION &

MANAGEMENT

### To

The Chief Engineer / Transmission/ APTRANSCO / Vidyut Soudha/ Hyderabad

Copy to:

The FA & CCA (A,E&R) / APTRANSCO / Vidyut Soudha, Hyderabad

The FA & CCA (TR) / APTRANSCO / Vidyut Soudha, Hyderabad

The Chief Engineer/Construction-I/ APTRANSCO / Vidyut Soudha/ Hyderabad

The Chief Engineer/Construction -II/ APTRANSCO / Vidyut Soudha/ Hyderabad

The Chief Engineer / Vijayawada Zone/Vijayawada.

The Superintending Engineer / TLC / Vijayawada

The Superintending Engineer / TL&SS / Vijayawada.

The Executive  Engineer / TLC / Guntur

The Divisional Engineer/TL&SS/Guntur

The Divisional Engineer/MRT/TLC/Vijayawada

The Divisional Engineer/MRT/TL&SS, Vijayawada

The Divisional Engineer-I/ PM- I, O/o. CE/Construction -I

The AS (Estt)/ Vidyut Soudha, Hyderabad

The EME-3/ O/o Chief Engineer/Transmission/APTRANSCO/Vidyut Soudha/Hyderabad

Forwarded By Order

Sd/-

Executive Engineer

EME-1/ TRANSMISSION