- RT NO.111 Dt.28.11.2013

- TRANSMISSION CORPORATION OF ANDHRA PRADESH LIMITED

OFFICE OF THE CHIEF ENGINEER,

APTRANSCO: KADAPA  ZONE.

Memo.No.CE/KDP Zone / KDP / ADE-T2 / AE-T3 / F.28 / D.No.2395 /13,  Dt.04-11-13.

- Sub  :	APTRANSCO – Kadapa Zone – “Painting of MS Towers in 132 KV Puttur – Nagari line from Loc.No.1 to 50 with one coat of Red oxide paint and one coat of alluminium paint of Asian (or) Nerolac make in EHT lines Sub-Division/ Renigunta”– Estimate – Sanctioned – Regarding.

- Ref : 1. T.O.O.CE ( Transmission) MS.No.229, dt.18-09-10

- 2. Lr.No.SE/ TL & SS/ KDP/ ADE-T/AE-T/F. /D.No.1615/13, Dt.29-07-13.

- *  *  *  *  *

In exercise of revised powers delegated vide T.O.O. CE(Transmission) MS No. 229 Dt. 18-09-10 under item No. 4 (b) page No. 2 of revised delegation of powers of officers the Chief Engineer / Kadapa Zone / Kadapa is pleased to accord sanction to the estimate for the work of  “Painting of MS Towers in 132 KV Puttur – Nagari line from Loc.No.1 to 50 with one coat of Red oxide paint and one coat of alluminium paint of Asian (or) Nerolac make in EHT lines Sub-Division/ Renigunta” at an estimated cost of  `.9,33,205-00 (Rupees Nine Lakhs Thirty Three Thousand Two Hundred and Five only)

The estimate is sanctioned and registered as O & M No.26/ 13-14 and the work shall be taken up subject to availability of budget provision.

The expenditure is chargeable to A/C. No. 74.500 towards O & M of EHT lines, cables network etc., of EHT lines Sub Division/ Renigunta in TL & SS Circle/ Kadapa for the financial year 2013 – 14.

P.JAYARAMAIAH,

CHIEF ENGINEER,

- KADAPA ZONE : : APTRANSCO.

To

- The Superintending Engineer / TL & SS / Kadapa

- Copy to The Divisional Engineer / TL & SS / Tirupati

- Copy to The Senior Accounts Officer / Kadapa Zone

REPORT TO ACCOMPANY THE ESIMATE

Amount : `. 9,33,205-00

Proposal in General :

The proposal envisages for painting of MS towers bearing Loc. Nos. 1 to 50 (50 towers) in 132 KV Puttur – Nagari feeder under jurisdiction of EHT Lines sub – division, Renigunta.

Proposal in Brief:

The 132 KV Puttur – Nagari feeder was commissioned on 23-06-1994 with       63 Nos. towers. During premonsoon Inspection & routine patrolling it was observed that all MS towers are rusted badly due to atmospheric condition, in these MS towers Loc.No.63 to Loc.No.51 MS towers were painted and other from Loc.No.01 to Loc.No.50 need to painting.  If the towers were not painted it may cause and reduce the life of tower which causes huge loss to APTRANSCO. Hence estimate has been prepared based on SSR for the year  2011 – 12.

Cost of Estimate :

The cost of the estimate works out to `.9,33,205-00 (Rupees Nine Lakhs Thirty Three Thousand Two Hundred and Five only) and  expenditure is chargeable to O & M of lines Sub Division, Renigunta.

Conclusion: The Estimate is sanctioned.

Detailed estimate

| S. No. | Description | Qty in MT | Rate/ Per | Amount |
| --- | --- | --- | --- | --- |
| 1 | Scratching properly with sand paper, iron brushes to clean all the rust on all tower parts of the tower and painting properly with one coat of red oxide 1st grade paint of Asian (or) Berger (or) Nerolac make including coast of paint with all initial lead and lifts etc., Pg.32 of SSR 2011-12 | 181.916 | 1781-00/ MT | 323992-39 |
| 2 | Painting of MS towers with one coat of 1st grade aluminium paint shall apply fully without any spots after drying the red oxide paint of Asian (or) Berger (or) Nerolac make including cost of paint with initial leads and lifts etc., complete | 181.916 | 2844-00/ MT | 517369-10 |
|  | Sub-total |  |  | 8,41,361-49 |
|  | Add Works contract tax @ 3.5% |  |  | 29,447-65 |
|  | Add Service tax @ 12.36% of 60% on sub - total |  |  | 62,395-36 |
|  | Gross Total |  |  | 9,33,204-50 |
|  | Or Say |  |  | 9,33,205-00 |

(Rupees Nine Lakhs Thirty Three Thousand Two Hundred and Five only)

P.JAYARAMAIAH,

CHIEF ENGINEER,

- KADAPA ZONE : : APTRANSCO.

- DATA – I

- Name of the Work:-  The proposal envisages for painting of MS towers bearing Loc. Nos. 1 to 50 (50 towers) in 132 KV Puttur – Nagari feeder under jurisdiction of EHT Lines sub – division, Renigunta.

| - Sl. No. | - Loc No. | - Type of Tower | - Sl. No. | - Loc. No. | - Type of Tower |
| --- | --- | --- | --- | --- | --- |
| - 1 | - 1 | - S | - 26 | - 26 | - P |
| - 2 | - 2 | - P + 3 | - 27 | - 27 | - S |
| - 3 | - 3 | - S | - 28 | - 28 | - P |
| - 4 | - 4 | - P | - 29 | - 29 | - P |
| - 5 | - 5 | - P | - 30 | - 30 | - P |
| - 6 | - 6 | - P + 3 | - 31 | - 31 | - P |
| - 7 | - 7 | - P | - 32 | - 32 | - P |
| - 8 | - 8 | P | - 33 | - 33 | - R |
| - 9 | - 9 | P | - 34 | - 34 | - P + 3 |
| - 10 | - 10 | P + 3 | - 35 | - 35 | - P + 6 |
| - 11 | - 11 | S | - 36 | - 36 | - R |
| - 12 | - 12 | P + 6 | - 37 | - 37 | - P |
| - 13 | - 13 | P | - 38 | - 38 | - S |
| - 14 | - 14 | P + 3 | - 39 | - 39 | - R + 3 |
| - 15 | - 15 | S | - 40 | - 40 | - P + 6 |
| - 16 | - 16 | P | - 41 | - 41 | - S + 3 |
| - 17 | - 17 | P + 6 | - 42 | - 42 | - R |
| - 18 | - 18 | P | - 43 | - 43 | - P |
| - 19 | - 19 | P | - 44 | - 44 | - R + 3 |
| - 20 | - 20 | P | - 45 | - 45 | - P + 3 |
| - 21 | - 21 | P | - 46 | - 46 | - P |
| - 22 | - 22 | P + 3 | - 47 | - 47 | - P |
| - 23 | - 23 | P | - 48 | - 48 | - R |
| - 24 | - 24 | P + 3 | - 49 | - 49 | - P |
| - 25 | - 25 | P | - 50 | - 50 | - P + 3 |

DATA – II

| Sl. No. | Type of Tower | No. of Towers | Weight of each tower in MT | Total Weight MT |
| --- | --- | --- | --- | --- |
| 1 | P | 24 Nos. | 2.808 | 67.392 |
| 2 | P + 3 | 09 Nos. | 3.276 | 29.484 |
| 3 | P + 6 | 04 Nos. | 3.778 | 15.112 |
| 4 | R | 04 Nos. | 4.356 | 17.424 |
| 5 | R + 3 | 02 Nos. | 5.404 | 10.808 |
| 6 | S | 06 Nos. | 5.763 | 34.578 |
| 7 | S + 3 | 01 No. | 7.118 | 7.118 |
|  | TOTAL | 50 Nos. |  | 181.916 MT |

P.JAYARAMAIAH,

CHIEF ENGINEER,

- KADAPA ZONE : : APTRANSCO.